## Slide 1: Pyrenees-Mediterranean
2 JULY 202–6LA CITÉ, TOULOUS
SUSTAINABLE AGRI-FOOD INNOVATION DAY
SOLVENT FREE FLOCCULANT TECHNOLOGY FOR DEWATERED SLUDGE REUSE IN AGRICULTURE

## Slide 2: TThheeTrCiahlailnletnhgeela/ rTgheestNSeleadughterhouse in Spain
SOLVENT FREE FLOCCULANT TECHNOLOG
REUSE IN AGRICUL
6 to 12 Mill
Tn/Year Dewatered Sludge in EU
https://ec.europa.eu/eurostat/en/web/prod
ucts-eurostat-news/w/ddn-20240927-2
20-50
%
sed
r the
ering
¿Could we dewater
sludge
safer
higher n
recove
Water Based F
SOLVENT FREE FLOCCULANT TECHNOLOGY FOR DEWATERED SLUDGE REUSE IN AGRICULTURE
Use Oil-Ba ed Emulsion fo the Sludge Dewatering
sludge safer and with higher nutrient recovery?
Water Based Flocculants

## Slide 3: We don’t want to add Oils/Solvents to the Sludge for Agriculture.
Measurement of Oil/Solvents in the Sludge after Dewatering
0
2000
4000
6000
8000
10000
12000
14000
Bodegas Ayuso
Raw Sludge Himoloc Emulsion Sum of mineral oil (ppm)
C10 - C20 (ppm)
Petrogenetic conc C10-C20 (ppm)
0
2000
4000
6000
8000
10000
12000
Litera Meats
Raw Sludge Himoloc Emulsion Sum of mineral oil (ppm)
C10 - C20 (ppm)
Petrogenetic conc C10-C20 (ppm)
With Oil-Based Emulsion 80% of the solvent end in the Sludge.
With HIMOLOC Water Based we are not adding any solvents
SOLVENT FREE FLOCCULANT TECHNOLOGY FOR DEWATERED SLUDGE REUSE IN AGRICULTURE

## Slide 4: How about the biodegradability of the sludge?

## Slide 5: Let’s evaluate the effect on recovering Nutrients. Thermogravimetric evaluation of sludges and polymers
PROJECT ACRONYM
Parameter | Untreated Sludge | Sludge-HIMOLOC | Sludge-Emulsió
Total Nitrogen (%) | 0,47 | 1,93 | 1,53
Organic Nitrogen (%) | 0,32 | 1,25 | 1,01
Ammonia nitrogen (%) | 0,15 | 0,69 | 0,52
Phosphorus (P₂O₅) (%) | 0,24 | 1,03 | 0,89
Acid humic (%) | 1,4 | 6,9 | 4,5
Total humic ext. (%) | 2,6 | 11,7 | 8,0
Zinc (Zn) mg/Kg s.m.s. | 669 | 646 | 803
E. coli (ufc/g) | 570000 | 2900 | 42000
Respiratory Activity AT4 (mg O₂/g ms) |  | 6,28 | 14,94
The HIMOLOC Treated Sludge
Has higher agronomic value: more nitrogen, phosphorus, humic acid, and humic extract
lower zinc, much lower E. coli, and lower respiratory activity, which point to better safety and stability.

## Slide 6
Let’s GO to the Field with Spinach's!
+49%

## Slide 7: Let’s analyze the foliar parameters.
From an
agronomic
perspective,
the enhanced
availability
of nutrients
and micronutrients
under
sludge treatments
represents a clear
benefit,
contributing
improved plant nutrition
performance,
to and
as reflected in earlier harvest and
increased vegetative growth.
The results demonstrate that the type of polymer used in sludge conditioning plays a crucial role in controlling soil–plant interactions. Sludge-Himoloc, characterized by higher organic matter reactivity and biodegradability, promotes a more dynamic system with enhanced nutrient cycling and metal bioavailability.

## Slide 8: Final Summary:
HIMOLOC Water Based Flocculants have demonstrated:
  Not adding solvents/hydrocarbons to the dewatered sludge
  Increase biodegradability
  Promotes microbial activity and faster stabilization
  Promoted fungal diversity and is compatible with seed germination
  Higher agronomical value
  Better safety and stability
  Higher production yield (+49% in Spinachs)
  More dynamic system with enhanced nutrient cycling and metal bioavailability.
We have started with the largest slaughterhouse of Spain (now a customer) but there is still 6 to 12 Mill Tn of Dry Sludge in Europe to change the paradigm!